High Availability in 37 Easy Steps
Tim Serong
Senior Clustering Engineer
tserong@novell.com

---
Agenda
- What is High Availability?
- System Design Considerations
- HA Clustering Software

---
What is High Availability?

---
What is High Availability?
“High availability is a system design protocol and associated implementation that ensures a certain degree of operational continuity during a given measurement period.”
 http://en.wikipedia.org/wiki/High_Availability

---
What is High Availability?
- So:
  - Increase MTTF (better hardware)
  - Decrease MTTR (redundant hardware + software)
MTTF
Availability =
MTTF + MTTR

---
What is High Availability?
(hopefully your hardware is better than this)

---
What is High Availability?
I lied about the presentation title

---
What is High Availability?
I lied about the presentation title
High Availability in 37 Easy Steps

---
What is High Availability?
I lied about the presentation title
High Availability in 37 Easy Steps
High Availability is a Process, not a Product

---
What is High Availability?
http://xkcd.com/705/
(hopefully you hired this sysadmin)

---
System Design Considerations

---
System Design Considerations
- What, exactly, do you need?
- How good is your system already?
- Within what limits can you operate?
- Please, for the love of Eris, keep it simple.

---
System Design Considerations
RAID
Client Network
File Server
Ethernet
Dual F/C

---
System Design Considerations
RAID
Client Network
File Server
Ethernet
Dual F/C
Reasonably Highly Available, Most of the Time

---
System Design Considerations
- Good:
  - Redundant power to server
  - Redundant F/C connections
  - RAID
- Bad:
  - Server can still fail
  - Software can still fail

---
System Design Considerations
Node 1
Dual F/C
Ethernet
RAID
Client Network
Private
Network
Node 2
Ethernet
Dual F/C
“File Server”

---
System Design Considerations
Node 1
Dual F/C
Ethernet
RAID
Client Network
Private
Network
Node 2
Ethernet
Dual F/C
“File Server”
Node 2 takes over when Node 1 fails

---
System Design Considerations
- Redundancy adds complexity
- Who's the boss if the two nodes get confused?
- STONITH to the rescue

---
System Design Considerations

---
System Design Considerations
- Two-node clusters can be problematic.
- Set STONITH action to power off (not reset).
- Get a third node.
- Test, test, test!

---
HA Clustering Software

---
HA Clustering Software
- In the beginning was Heartbeat v1
- Easy to configure...
  # cat /etc/haresources
  node1 IPaddr::192.168.1.50 Filesystem::/dev/sda1::/data1::ext3
- ...because it couldn't do anything.
– http://theclusterguy.clusterlabs.org/post/178680309/configuring-heartbeat-v1-was-so-simple

---
HA Clustering Software
- Then came Heartbeat v2, supporting:
  - More than 2 nodes
  - Resource level monitoring
  - Dependencies between resources

---
HA Clustering Software
Trickier to configure:
# cibadmin -Q
<?xml version="1.0"?>
<cib ...>
  <configuration>
    ...
    <resources>
      <group id="ip-with-fs">
        <primitive class="ocf" id="IP" provider="heartbeat" type="IPaddr">
        <instance_attributes id="IP-instance_attributes">
        <nvpair id="IP-instance_attributes-ip" name="ip" value="192.168.1.50"/>
        </instance_attributes>
        <operations>
        <op id="IP-monitor-5min" interval="5min" name="monitor"/>
        </operations>
        </primitive>
        <primitive class="ocf" id="FS" provider="heartbeat" type="Filesystem">
        <instance_attributes id="FS-instance_attributes">
        <nvpair id="FS-instance_attributes-device" name="device" value="/dev/sda1"/>
        <nvpair id="FS-instance_attributes-directory" name="directory" value="/data1"/>
        <nvpair id="FS-instance_attributes-fstype" name="fstype" value="ext3"/>
        </instance_attributes>
        <operations>
        <op id="FS-monitor-60s" interval="60s" name="monitor"/>
        </operations>
        </primitive>
      </group>
    </resources>
    <constraints>
      <rsc_location id="prefer-node1" node="node1" rsc="ip-with-fs" score="100"/>
    </constraints>
    ...
  </configuration>
</cib>

---
HA Clustering Software
Sometimes, it hurts your eyes:

---
HA Clustering Software
- Heartbeat then split into two projects:
  - Heartbeat 2.1.4 (membership & messaging)
  - Pacemaker 0.6 (CRM)
  - (also glue, agents)
- Pacemaker added support for OpenAIS as an alternative to Heartbeat
  - Necessary for DLM, thus supporting CLVM, GFS2, OCFS2

---
HA Clustering Software
http://clusterlabs.org/wiki/Architecture

---
HA Clustering Software
- Most recently, OpenAIS split into two projects:
  - Corosync (cluster infrastructure)
  - OpenAIS (SA Forum APIs, i.e. magic for DLM, OCFS2, etc.)
- So now we have:
  - Pacemaker 1.x on Heartbeat 3.0, or,
  - Pacemaker 1.x on Corosync 1.x (+ OpenAIS 1.x)

---
HA Clustering Software
SAP
LVS
...
Web GUI
(SUSE only)
MySQL
DRAC
Python GUI
libvirt
iLO
c
c
DRBD
OpenAIS
MPIO
SBD
Xen
CRM Shell
Fencing
Apache
YaST2
iSCSI
CIB
Policy
Engine
Filesystems
IP address
Pacemaker
DRBD
clvmd
OpenAIS
Ocfs2_controld
dlm_controld
ext3, XFS
OCFS2
Linux Kernel
DLM
cLVM2
SCTP
TCP
UDP
multicast
DRBD
Multipath IO
Bonding
UDP
multicast
Infiniband
Local Disks
SAN
FC(oE), iSCSI
Ethernet
(diagram courtesy of Lars Marowsky-Brée)
Resource Agents
LSB init
STONITH
LRM

---
HA Clustering Software
- But, after all that, it's easy to configure again:
- ...and vastly more flexible
# crm configure show
primitive IP ocf:heartbeat:IPaddr \
params ip="192.168.1.50" \
op monitor interval="5min"
primitive FS ocf:heartbeat:Filesystem \
params device="/dev/sda1" directory="/data1" fstype="ext3" \
op monitor interval="60s"
group ip-with-fs IP FS
location prefer-node1 ip-with-fs 100: node1

---
HA Clustering Software
Clients
Network
Links
LAMP
Apache
IP
ext3
Xen
VM
1
Xen
VM
2
cLVM2+OCFS2
DLM
Pacemaker
Storage
Corosync + openAIS
Kernel
Kernel
Kernel
(diagram courtesy of Lars Marowsky-Brée)

---
HA Clustering Software
- Before it breaks:
  # crm
  crm(live)# cib new sandbox
  INFO: sandbox shadow CIB created
  crm(sandbox)# cib cibstatus load live
  crm(sandbox)# cib cibstatus op monitor IP not_running
  crm(sandbox)# configure ptest
  ptest[12971]: 2010/04/05_07:43:36 WARN: unpack_rsc_op: Processing failed op IP_monitor_300000 on hex-14: not running (7)

---
HA Clustering Software

---
HA Clustering Software
- After it breaks:
  # hb_report -n “node1 node2” -f 12:00 /tmp/hb_report
- Compiles:
  - Cluster-wide log files
  - Package state
  - DLM/OCFS2 state
  - System information
  - CIB history
  - Parses core dump reports (needs debuginfo packages!)
  - ...into a single tarball for subsequent analysis

---
HA Clustering Software
- Active Community
  - #linux-ha
  - #linux-cluster
  - Various mailing lists
- SUSE and Red Hat converging on cluster stacks
- Heartbeat in maintenance mode

---
Questions and Answers

---
Further Reading
- http://www.clusterlabs.org/
- http://www.linux-ha.org/
- http://www.corosync.org/
- http://www.novell.com/products/highavailability/
- http://www.linbit.com/
- http://www.ourobengr.com/ha